Chavez Calibrations International, Inc.

2770 Arapahoe Road, Suite 132-191

Lafayette, CO 80026-8016

Phone:  303/926-8026     Fax:  720/890-2810

Email:  info@chavezusa.com    Website:  www.chavezusa.com

Fractured Specimen Digital Picture Guide

After performing the indirect verification test you may email, fax, or mail the completed questionnaire to Chavez Calibrations International, Inc. using the contact information located in the letterhead above.

In order to save your company time and expense, you may include digital pictures of the fractured specimens highlighting the brinelling marks caused by the anvils on your machine.

The brinelling marks as well as other marks on the specimens will help CCI to evaluate your test more completely.

Please note that this figure represents low energy specimens only.  Please align the specimen halves as using the machined notch and not the bottom ends of the specimens as indicated in the figure below.  Please note that the second strike marks may not be consistent on all low energy specimens.  The specimens are tumbling when they strike the machine anvils for the second time as they exit the machine in the opposite direction of the high and super-high energy level specimens.

High and super-high energy level specimens will not have second strike marks because they do not contact the machine anvils a second time.